DIGITAL PHASE SELECTOR

ABSTRACT

Power instability in developing countries creates the need for automation of phase selection or alternative sources of power to back-up the utility supply. Most industrial and commercial applications are dependent on power supply and if the process of change over is manual ,not only considerable time is wasted but also the device or machine may get damaged from human error during the change over connections, incurring massive losses.

Here is a digital phase selector that can be installed in residential and office premises where single-phase equipment is used. When any of the mains phase lines fails, it automatically selects the available phase line (out of three phase lines or backup lines)

CONTENTS

1. INTRODUCTION

1.1 Importance of Electrical Energy

1.2 Objective of the Project

1.3 Need for Automation

1.4 High Frequency Switching Technology

1.5 Inverter

2. DIGITAL PHASE SELECTOR

2.1 Introduction

2.2 Block Diagram of Digital Phase Selector

2.3 Circuit Description of Digital Phase Selector

2.4 Advantages of Digital Phase Selector

3. OPTO COUPLER

3.1 Definition of Optocoupler

3.2 Schematic Diagram of IC Mct2e Opto-Coupler

3.3 Working of IC MCT2E Opto Coupler

3.4 Absolute Maximum Ratings

3.5 Typical Electro-Optical Characteristics

3.5.1 Switching Time Test Circuit and Waveforms

3.5.2 Switching Time Wave Form of IC MCT2E

3.6 Application

4. CONTROL LOGIC DEVICES

4.1 Introduction

4.2 Hex Inverter (IC CD4069)

4.2.1 General Description

4.2.2 Features

4.2.3 Pin Diagram

4.2.4 Schematic Diagrams

4.2.5 Absolute Maximum Ratings

4.2.6 Ac Test Circuits

4.2.7 Switching Time Wave Forms

4.2.8 Performance Characteristics

4.3 Quad ‘And’ Gate (IC CD4081)

4.3.1 General Description

4.3.2 Features

4.3.3 Connection Diagram

4.3.4 Schematic Diagrams

4.3.5 Absolute Maximum Ratings

4.3.6 Typical Performance Curves

4.3.7 Physical Dimensions

4.4 Working of Control Logic Device

5. RELAY DRIVERS

5.1 Introduction

5.2 Darlington Sink Driver

5.3 Features

5.4 Pin Configuration

5.5 Schematic Diagram

5.6 Maximum Ratings

5.7 Test Circuits of IC ULN2003

5.8 Relay

6. POWER SUPPLY

6.1 Introduction

6.2 Features

6.3 Description

6.4 Circuit Diagram

6.5 Internal Block Diagram

6.6 Transformers

6.6.1 Step down Transformer

6.6.2 Transformer Rating

CONCLUSION

FUTURE SCOPE

BIBLIOGRAPHY

APPENDIX-A

# APPENDIX-B

# APPENDIX-C

LIST OF FIGURES

Fig1: Block Diagram of Digital Phase Selector.

Fig2: Circuit Diagram of Digital Phase Selector

Fig3: Power Supply Circuit Diagram

Fig4: Schematic Diagram of IC MCT2E Opto Coupler

Fig5: Switching Time Test Circuit and Waveforms

Fig6:  Switching Time Wave Form of Mct2e

Fig7:  Pin Diagram of IC CD4069

Fig8: Schematic Diagram of IC CD4069

Fig9: Ac Test Circuit of IC CD4069

Fig10: Switching Time Wave Forms IC CD 4069

Fig11: Performance Characteristics of IC CD4069

Fig12: Pin Diagram of IC CD4081

Fig13: Internal Schematic Diagram of IC CD4081

Fig14: Typical Performance Curves of IC CD4081

Fig15: Outline Diagram of IC CD4081 with Physical Dimensions

Fig16: Outline Pin Diagram of IC ULN 2003

Fig17: Pin Connection of IC ULN 2003

Fig18: Schematic Diagram of IC ULN 2003

Fig19: Test Circuits of IC ULN2003

Fig20: Outline Structure of Electromagnetic Relay

Fig21: Physical View of IC LM317

Fig22: Circuit Diagram

Fig23: Internal Block Diagram of IC LM317

Fig24: Step Down Transformer

LIST OF SYMBOLS

- Capacitor

2)   Capacitor, polarized

3)  Capacitor, variable

4) Diode

5)  Zener diode

6) LED

7) Photodiode

8)  Inductor

9) Transformer

10) NPN transistor

11) Earth or ground

12) Fuse

13) Battery

14) SPST (on-off switch)

15) SPDT (2-way switch)

16) Relay

17) Resistor

18) Variable resistor

19) And gate

20) Not gate

HARD WARE COMPONENTS USED IN THIS PROJECT

| Semi conductors |  |
| --- | --- |
| IC1-IC4 | MCT2E optocoupler |
| IC5 | CD4069 hex inverter |
| IC6 | CD4081 quad AND gate |
| IC7 | ULN2003 Darlington array |
| IC8 | LM317 adjustable regulator. |
| ZD1-ZD4 | 9V Zener diode |
| D1-D16 | IN4007 rectifier diode. |
| LED1-LED4 | 5mm LED |
| Resistors (all ¼-watt,±5% carbon) |  |
| R1-R3,R21 | 15-kilo-ohm,1W |
| R4-R6,R22 | 1-kilo-ohm |
| R7-R10 | 10-kilo-ohm |
| R12-R15 | 2.2-kilo-ohm |
| R11 | 12-kilo-ohm |
| R16-R19 | 330-ohm |
| R20 | 560-ohm |
| VR1 | 5.6-kilo-ohm preset |
| Capacitors: |  |
| C1-C3,C12 | 10µF, 40V electrolytic |
| C4-C7 | 22nF ceramic disc. |
| C8 | 2200µF, 25V electrolytic. |
| C9,C11 | 0.1µF ceramic disc |
| C10 | 10µF, 16V electrolytic. |
| Miscellaneous: |  |
| X1 | 230V primary to 9V,2A secondary transformer |
| RL1-RL4 | 6V,1C/O relay |
| F1-F4 | 1A fuse |
| BATT. | 6V rechargeable battery |

CHAPTER-1

INTRODUCTION

  - Importance of electrical energy:

Electrical energy is the only form of energy which is easily available. The main advantage of this form of energy is we can easily convert any form of energy into electrical energy and vice-versa.

The usage of this electrical energy is increasing day-by-day. The best example is in India in 1950 the generation of electrical energy was 150MW and now the generation has been increased to a very large extent. To meet this load demand many power stations were build across the country.

  - Objective of the project:

The load demand is increasing day by day and we are able to generate power to the requirement and we are able to transmit power to the load centers with maximum efficiency and minimum losses.

The major problem a consumer facing now a days is power interruption. Due to this power interruption lot of damage is caused in terms of money and sometimes to life. Due to this power interruption lot of time is wasted.

But the major problem of power interruption is in distribution system and more over 70% faults are single phase faults, in this case power is available in other two phases.

But all the domestic loads are connected to single phase supply and if the fault occurs, even then power is available in other phases we can not utilize that power. If we want to utilize that power manual operation is required which results in fire accidents and also not reliable.

For this we need automatic switching from one phase to other automatically which is made possible by this “DIGITAL PHASE SELECTOR”.

1.3 Need For Automation:

In order to change from one phase to other manual operation is not possible as we are dealing with 3-Φ 415V supply which causes fire accidents during change over and leads to 3-Φ faults which is dangerous to electrical equipment. And more over manual changing is not possible at every time as identifying the phase of power interruption is difficult.

To avoid all this we need automation which is done by “DIGITAL PHASE SELECTOR”. Here we do not need any manual work and we are no way concerned with the phase of fault as the digital phase selector automatically switches to the phase where the power is available.

  - High frequency switching technology:

High frequency switching technology is the latest technique which uses infra red radiation for switching purpose.

For this we use IC MCT2E opto coupler. The main advantage of this technique is, mechanical switching is reliable for single phase supply, but for three phase supply sudden mechanical switching causes arching. This can be avoided by using this technology as it uses infrared radiation to trigger transistors, MOSFETS, IGBTs etc...

1.5 INVERTER:

The digital phase selector has capability to take power from inverter also. Even if the power failure is in all the three phases the availability of inverter makes this more reliable. And more over this inverter need not me manually operated just by connecting it to digital phase selector it can be operated. During normal conditions the inverter is charged i.e.., the battery is charged and during fault conditions it gives back up.

CHAPTER-2

DIGITAL PHASE SELECTOR

2.1 INTRODUCTION:

Power instability in developing countries creates the need for automation of phase selection or alternative sources of power to back-up the utility supply. Most industrial and commercial applications are dependent on power supply and if the process of change over is manual ,not only considerable time is wasted but also the device or machine may get damaged from human error during the change over connections, incurring massive losses.

Here is a digital phase selector that can be installed in residential and office premises where single-phase equipment is used. When any of the mains phase lines fails, it automatically selects the available phase line (out of three phase lines or backup lines).

2.2 BLOCK DIAGRAM OF DIGITAL PHASE SELECTOR:

The figure below is the block diagram of digital phase selector. This has mainly four blocks they are

- Phase sensing and switching block.

- Control logic block.

- Relay driver section.

- Power supply unit.

All the four blocks are inter connected to each other and are independent of load connected to it. All the blocks get signals simultaneously and we can not decide which block is operating first physically.

R PHASE

SELECTOR

Y PHASE

SELECTOR

B PHASE

SELECTOR

INVERTER

SELECTOR

CONTROL

LOGIC

CIRCUIT

RELAY

DRIVER

RELAY FOR

R PHASE

RELAY FOR

Y PHASE

RELAY FOR

B PHASE

RELAY FOR

INVERTER

POWER

SUPPLY

LOAD

Fig1: Block diagram of digital phase selector.

- Control logic block:

The control logic circuitry decides the phase priority   for one out of four lines.  The order of phase priority is R-phase followed by Y-phase, B-phase and then back up (inverter) as shown in truth table given below.

- Phase sensing and switching block:

This gives information to the optocoupler where the phase from which the power has to be taken is sensed and corresponding switching operation is performed. Thus the speed of operation of sensing the phase depends directly on the control circuit and not on optocoupler. The opto coupler just performs the work as according to the instructions given by the control circuit.

| TRUTH TABLE |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Line input |  |  |  | Control logic output |  |  |  |
| R phase | Y phase | B phase | Inverter | R | Y | B | Inv |
| 1 | X | X | X | 1 | 0 | 0 | 0 |
| 0 | 1 | X | X | 0 | 1 | 0 | 0 |
| 0 | 0 | 1 | X | 0 | 0 | 1 | 0 |
| 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |

Table1: truth table of digital phase selector.

- Relay driver section:

The control logic circuit not only gives signal to opto coupler but it has to give signal to relay driver section also simultaneously. This is the reason the control logic circuit is very important.

The relay driver gets signal from the control logic circuit and according to the signal it will activate the corresponding relay to operate. The relay driver section gives electrical signal to the strip of the relay and relay contacts closes thus the power flows to load.

- Power supply unit:

The digital phase selector has three main blocks which contains four optocoupler(IC MCT2E), one hex inverter(IC CD4069), one quad and gate(IC CD4081), one Darlington array (ULN 2003). And more over there is a relay in each phase which has mechanical contact.

To make all these devices to work a perfect 6V D.C supply is required which does not contain any ripples. And to drive the relays and the IC we need 2A, 6V supply i.e.., a pure D.C which is provided by the power supply unit.

The power supply unit consists of adjustable regulator which varies automatically the voltage during normal running conditions.

2.3 Circuit description of “DIGITAL PHASE SELECTOR”:

The figure below shows is the circuit of the digital phase selector. The R-phase of AC mains supply is rectified by half wave rectifier 1N4007 (D1). The rectified signal is limited to 9Volts by the Zener diode and filtered by 10microFARAD capacitor. The 15kohm resistor acts as the current limiter.

Fig2 : circuit diagram of digital phase selector.

The cathode of the Zener diode is connected to pin1 of opto coupler MCT 2E through a 1kilo-ohm resistor. The 1-kilo-ohm resistor acts as the current limiter for MCT2E. Each opto coupler consists of a gallium-arsenide infrared LED and a silicon NPN photo transistor. When R-phase is present, the internal infrared led drives the internal photo transistor of MCT2E is used for the logic circuitry.

All the line-/phase-sensing circuits are similar as explained above. The control logic circuit is isolated from the phase-sensing circuit by opto coupler MCT2E.

The control logic circuit comprises NOT gate, AND gate, diodes and a few passive components. It is basically a priority encoder and works according to the truth table. If an input variable is at logic ‘0’, it means that particular phase (line) is absent in the phase selector, while if an input variable is at logic ‘1’, that particular phase is present in the phase selector.

The truth table expression may contain any number of lines (any number of inputs may be at logic’1’), but only one input will be at logic ‘1’. This means that only a particular phase has the highest priority and must be carried out first. ‘X’ in the truth table indicates the ‘don’t care, input, i.e., the input may be at logic ‘0’ or ‘1’.

From the truth table, you can easily arrive at the following Boolean equations:

R=R phase

Y=R phase, Y phase

B=R phase, Y phase,

INV. = R’ phase, Y’ phase, B’ phase, inverter

The working of the control logic circuit is as simple as its structure. The presence of any of four phase lines, namely, R, Y, B and inverter, makes the corresponding variable high (logic 1). The glowing of a particular LED, bearing the same name as the output variable, will indicate top priority.

The output from the logic control circuit is fed to relay driver ULN2003 (IC 7). IC ULN2003 is a high voltage, high current Darlington array containing open-collector Darlington pairs with common emitters. Each channel is rated at 500mA and can withstand peak currents of 600mA. Suppression diodes are included for driving inductive loads.

When all phase lines are present, only relay RL1 energizes and its contacts are connected to the load. The order of phase lines connected to the load is R phase followed by Y phase, B phase and then back up (inverter). LED1, LED2, LED3 and LED4 indicating R phase, Y phase, B phase and backup (inverter) respectively, are connected to the load. Resistors R16 through R19 act as current limiters for LED1 through LED4, respectively.

The figure below shows the circuit of power supply. The A.C main is stepped down by transformer X1 to deliver 9V, 2A secondary output.

Fig3: power supply circuit diagram.

The transformer output is rectified by a full wave bridge rectifier comprising diodes D6 through D9, filtered by capacitor C8 and regulated by IC LM317 (IC 8). The LM317 (T package) is adjustable regulator that requires two external components (resistor R20 and preset VR1) to determine the output voltage. Preset VR1 is used to set the voltage to 6V.

Diode D10 protects regulator LM317, incase its input shorts to ground if capacitors above 10 micro Farads are connected to the output of the regulator IC.

Capacitor C11 by passes any ripple in the regulated output. Capacitors C4 through C7 are connected in parallel to rectifier diode to by pass undesired spikes and provide smooth and fluctuation-free power.

2.4 Advantages of digital phase selector:

- No mechanical contacts.

- Compact in size.

- High frequency switching technology.

- Can be used for all single phase loads.

CHAPTER-3

OPTO COUPLER

3.1 Definition of optocoupler:

An opto-isolator circuit. In electronics, an opto-isolator  is a device that uses a short optical transmission path to transfer a signal between elements of a circuit, typically a transmitter and a receiver, while keeping them electrically isolated  since the signal goes from an electrical signal to an optical signal back to an electrical signal, electrical contact along the path is broken.

3.2 schematic diagram of IC MCT2E opto-coupler:

Fig:4 schematic diagram of IC MCT2E OPTO COUPLER

The schematic diagram of IC MCT2E opto coupler is shown above and its pin diagram is also shown. It is a 6-pin IC which has infra red LED and a photo transistor internally which can be seen in the figure.

Out of the six pins the first pin is anode, second pin is cathode. These two pins act as supply terminals. The third terminal is given no connection as this terminal is mainly dealt with dc supply. But here we are only dealing with ac supply and we are no way concerned with dc supply hence we made the third terminal dead.

3.3 Working of IC MCT2E OPTO COUPLER:

The MCT2E series opto-coupler consists of a gallium arsenide infra red emitting diode a silicon photo transistor in a 6-pin dual-in-line package.

This consists of a high power infrared emitting diode which emits IR radiation when it gets 9V supply. This 9V is supplied by Zener diode which is used in series with a 15KΩ resistor.

This is so accurate that even a pulse of voltage makes the led to emit the radiation. And this is the reason the switch over is possible which made this device highly accurate and fast in operation.

When ever the supply is given to the anode, the radiation emitted by the high power LED triggers the photo transistor. Photo transistor is one which needs radiation to conduct. The 4, 5, 6 pins of MCT2E is emitter, collector, base respectively. When ever the radiation falls on base the electron moment starts and electrons flow from emitter to control logic. This give signal to control logic circuit and activates the logic IC.

3.4 Absolute maximum ratings:

Stress exceeding the absolute maximum ratings may damage the device. The device may not function or to be operable above the recommended operating conditions and stressing the parts to these levels is not recommended. In addition, extended exposure to stresses above the recommended operating conditions may affect device reliability. The absolute maximum ratings are stress ratings only.

All these ratings are for MCT2E and these values may vary for different manufacturer depending on the application of the IC. The ratings mentioned here also include the transistor parameters also. The rating of LED varies depending on the power input. Since we use here for 3-Φ, 415V supply the LED ratings are low. But the transistor ratings can’t be varied to the extent as the cost of the transistor increases with increase in the rating. Even then it is economical and safe to use a photo transistor.

Table2: absolute maximum ratings of MCT2E

3.5 Typical electro-optical characteristics:

3.5.1 Switching time test circuit and waveforms:

Fig 5: Switching time test circuit and waveforms.

The above figure shows the switching time test circuit diagram and its corresponding wave forms. The test circuit consists of a diode NPN transistor and passive elements like resistor and input supply.

The wave forms of the test circuit which consists of input pulse and output pulse which also shows the percentage variations also.

The test circuit shown in the figure clearly explains how the infrared radiation triggers the transistors. Here when ever the radiation hits the base of the transistors a current IF flows through the emitter and a voltage Vcc=10V is applied. The current If can be produced by adjusting collector current Ic.

The wave forms of the above test circuit are shown in the next figure. The figure shown has an input wave and a output wave which clearly explains how the out put varies with the input. When ever the input reaches from 10% to 90% the output curve is indicated from off to on state. When ever the input pulse is declined the output gradually reaches to 10% from 90%.

If the power supply is continuous for that phase the output again picks up to 90% and this process continues. If in case the power is disconnected in that phase the input suddenly comes to 0% but the output gradually decreases to 0%.

3.5.2 Switching time wave form of MCT2E.

Fig6:  Switching time wave form of MCT2E.

The above wave form shows the switching time wave forms of IC MCT2E optocoupler. This explains clearly the saturation state of IC MCT2E opto coupler. The opto coupler has an LED which has capacity to radiate 10 times more radiation than its rating but if the radiation increases the transistor conducts more a more and at one state it reaches to saturation state where the conduction stops and the transistor conducts maximum power and emits enormous heat. If the same situation continues for more time the transistor gradually goes into recovery state and finally stops conducting.

## 3.6 Application:

A simple circuit with an opto-isolator. When switch S1 is closed, LED D1 lights, which triggers phototransistor Q1, which pulls the output pin low. This circuit, thus, acts as a NOT gate.

Among other applications, opto-isolators can help cut down on ground loops, block voltage spikes, and provide electrical isolation.

- One of the requirements of the MIDI (Musical Instrument Digital Interface) standard is that input connections be opto-isolated.

- They are used to isolate low-current control or signal circuitry from transients generated or transmitted by power supply and high-current control circuits. The latter are used within motor and machine control function blocks.

- Most switched-mode power supplies utilize optocoupler for mains isolation.

CHAPTER-4

CONTROL LOGIC DEVICES

4.1 Introduction:

A control logic circuit is the circuit which controls the phase sensing and switching operations of optocoupler and relay driver section. For this there are two components used they are HEX INVERTER (IC CD4069) and the ‘quad AND GATE’ (CD 4081).

4.2 Hex Inverter (IC CD4069):

4.2.1 General Description:

The CD 4069 consists of six inverter circuits and is manufactured using complimentary MOS (CMOS) to achieve wide power supply operating range, low power consumption, high noise immunity, and symmetric controlled rise and fall times.

This device is intended for all general purpose inverter applications where the special characteristics of the IC CD 4069 HEX INVERTER are not required. In those applications requiring larger noise immunity hex Schmitt trigger is suggested. All inputs are protected from damage due to static discharge by diode clamps to VDD and VSS.

4.2.2 Features:

- Wide supply voltage range          : 3.0 to 15V

- High noise immunity                   : 0.45 VDD type.

- Low power TTL compatibility    : fan out of two driving 74L.

4.2.3 Pin Diagram:

Fig7:  Pin diagram of IC CD4069

The above diagram is the pin diagram of IC CD4069. It consists of six not gates and the two terminals of the NOT gate is brought out as two pins. The pin 14 is Vdd and the pin 7 is Vss and in this project we are not using the pins 8-13 as their applications are not related to the project. The working of the IC is purely based on the truth table of the NOT gate.

4.2.4 Schematic Diagrams:

Fig8: Schematic diagram of IC CD4069

The above diagram is the schematic diagram of IC CD4069. It has four terminals input voltage Vin, Vdd, Vss and Vout. It consists of two diodes, two MOSFETS and a variable resistor. The two diodes are used for directing the current in a particular direction and the MOSFETS are used for the switching and driving purpose.

The variable resistor is used to limit the current as the MOSFETS are not capable of holding currents more than its ratings. The current direction is indicated by arrows and if the direction reversed then the MOSFETS operation is interchanged and gives unnecessary signal even in normal condition.

4.2.5 Absolute Maximum Ratings:

- Dc supply voltage (VDD)                          : -0.5 to +18V

- Input voltage (VIN)                                   : -0.5 to VDD +0.5 VDC

- Storage temperature range (Ts)in °c        : -65 to +150

- Power dissipation (Pd)

  - Dual-in-line                                  : 700MW

  - Small out line                               : 500MW

- Lead temperature (TL)                              : 260°c

4.2.6 AC Test Circuits:

Fig9: AC test circuit of IC4069

The above circuit diagram shows the AC test circuit of IC CD4069. it consists of an NOT gate and a capacitor is connected in between the output and the ground. It consists of two terminals input Vin and the output Vout. During normal running conditions the capacitor charges and when fault occurs it discharges and makes the output to drive the signal.

4.2.7 Switching Time Wave Forms:

Fig10: Switching time wave forms IC CD 4069

The above wave form shows switching time wave form of IC CD4069. This wave form clearly explains the input and output simultaneously. The output of the IC is zero until the input reaches to 10% but suddenly the output reaches to 90% when the input gradually increases from 10% to 90%. When the input reaches to 90% the out put gradually decreases to 10%. This cycle continues and if there is any fault the output does not follow the input for some time and after a time delay the output gain comes to normal position.

4.2.8 Performance Characteristics:

Fig:(a)                                                                      fig :(b)

Fig11: performance characteristics of IC CD4069

The above graphs show typical performance characteristics. Fig :( a) shows the gate transfer characteristics input voltage Vin is on X-axis and the out put voltage is on Y-axis.

The dotted line shows the ambient temperature +125°c and the thin line gives the ambient temperature -55°c.

Fig :( b) shows the relation between propagation delay and ambient temperature, where the ambient temperature is on X-axis and the propagation delay on Y-axis. The propagation delay increases with increase in the ambient temperature. In also depends on the value of the capacitance.

4.3 Quad ‘And’ Gate (Ic Cd 4081):

4.3.1 General Description:

The CD 4081 quad and gates are monolithic complimentary MOS (CMOS) integrated circuits constructed with n and p channel enhancement mode transistors. They have equal source and sink current and compatibilities and confirmed to standard B series output drive. The devices also have buffered outputs which improve transfer characteristics by providing very high gain. All inputs protected against static discharge with diodes to VDD and VSS.

4.3.2 Features:

- Low power TTL compatibility.

- 5V-10V-15V parametric ratings.

- Symmetrical output characteristics.

- Maximum input leakage 1µA at 15V over full temperature range.

4.3.3 Connection Diagram:

Fig12: Pin diagram of IC CD4081

The above diagram shows the connection diagram of IC CD4081. It has 14 pins where pin 14 is Vdd, pin 7 is Vss. In our project we are using all the pins as it has to drive the relay driver section and it has to give signals to the opto coupler.

Internally the IC consists of AND gates and each AND gate has three terminals and all the three terminals are brought out.

The working of AND gate purely depends on the truth table of the AND gate and the required supply is given by the power supply unit.

4.3.4 Schematic Diagrams:

Fig13: Internal schematic diagram of IC CD4081

The above diagram is the internal schematic diagram of IC CD4081. It has three terminals and there are ten MOSFETS internally and each MOSFET consists of three terminals. Each terminal of all the MOSFETS is interconnected and three common terminals are bought out. This tells that each MOSFET can handle ten operations at a time with only three terminals. This we can interconnect any AND gate irrespective of terminals and we can use different terminals of different gates which are of same operation i.e., if we connect to pin 2 all the MOSFETS connected to pin 2 will work thus enables multiple operations with single pin and reduces the power consumption.

4.3.5 Absolute Maximum Ratings:

- Voltage at any pin              : -0.5 to +0.5

- Power dissipation

  - Dual in line            : 700mW

  - Small out line         : 500mW

- VDD range                           : -0.5 to +18V

- Storage temperature ºc        : -65ºc to +150ºc

- Lead temperature                : 260ºc

4.3.6 Typical Performance Curves:

Fig14: Typical performance curves of IC4081

The above graph shows the typical transfer characteristics of IC CD4081. It shows the relation between output voltage V0 and the input current Vi. The input is on X-axis and the output is on Y-axis.

The out varies in step and for particular value of input the output remains constant and this value also depends on the temperature. As the temperature increases the output varies.

4.3.7 Physical Dimensions:

Fig15: outline diagram of IC CD4081 with physical dimensions

The above diagram is the physical over view of the IC CD4081. This clearly shows the length of the IC gap between the pins, thickness of IC.

The casing of the IC is molded by 30° as it enables the IC to be easy to assemble. It also makes the IC to be easily mounted on the PCB boards.

The notch indicates the starting of the pins and the tip of the pins are sharpened so that it can be easily soldered. The gap between each pin is more because the IC is used for multiple operations and if the gap is less there is possibility of shot of pins.

4.4 Working of Control Logic Device:

This control logic circuit receives signal from the phase sensing block and activates the appropriate element and also gives signal to relay driver and this circuit needs 6V supply and this can be obtained by a power circuit unit.

The control logic circuitry decides the phase priority   for one out of four lines.  The order of phase priority is R-phase followed by Y-phase, B-phase and then back up (inverter).. The control logic circuit is isolated from the phase-sensing circuit by opto coupler MCT2E.

The control logic circuit comprises NOT gate, AND gate, diodes and a few passive components. It is basically a priority encoder and works according to the truth table. If an input variable is at logic ‘0’, it means that particular phase (line) is absent in the phase selector, while if an input variable is at logic ‘1’, that particular phase is present in the phase selector.

The truth table expression may contain any number of lines (any number of inputs may be at logic’1’), but only one input will be at logic ‘1’. This means that only a particular phase has the highest priority and must be carried out first. ‘X’ in the truth table indicates the ‘don’t care, input, i.e., the input may be at logic ‘0’ or ‘1’.

From the truth table, you can easily arrive at the following Boolean equations:

R=R phase

Y=R phase, Y phase

B=R phase, Y phase, B phase

INV. = R’ phase, Y’ phase, B’ phase, inverter

The working of the control logic circuit is as simple as its structure. The presence of any of four phase lines, namely, R, Y, B and inverter, makes the corresponding variable high (logic 1). The glowing of a particular LED, bearing the same name as the output variable, will indicate top priority.

The output from the logic control circuit is fed to relay driver ULN2003 (IC 7).

CHAPTER-5

RELAY DRIVERS

5.1 Introduction:

The relay driver section gives signal to the relay and makes the relay to close its contacts. As the relay has a small mechanical contact i.e.., a small metallic strip the relay drier must have capacity to drive it. For this a special IC used which has high signal carrying capacity and the IC used for this is IC ULN 2003 DARLINGTON ARRAY.

5.2 Darlington Sink Driver:

The IC ULN 2003 series are high voltage, high current Darlington drivers comprised of seven NPN Darlington pairs.

All units feature integral clamp diodes for switching inductive loads. Applications include relay, hammer, lamp and display (LED) drivers.

Fig 16: Outline pin diagram of IC ULN 2003

The above diagram shows the out line pin diagram of IC ULN 2003. it has 16 pins and each pin has some specific application and the two models of the IC are DIP type and SOL type.

5.3 Features:

- Output current (single output) 500mA MAX.

- High sustaining voltage output 50V MIN.

- Output clamps diodes.

- Inputs compatible with various types of logic.

- Package type-AP      : DIP-16 pin

- Package type-AFW  : SOL-16 pin

5.4 Pin Configuration:

Fig 17: Pin connection of IC ULN 2003

The above diagram shows the pin diagram of IC ULN 2003 darling ton array. It has 16 pins where the pin 8 is ground pin and pin 9 is used as common pin for all applications which is also grounded. If we see the internal diagram of IC it has not gates in series with diode and all are connected in parallel and their output is connected to corresponding terminals.

The ULN2003 are high voltage, high current Darlington arrays each containing seven open collector Darlington pairs with common emitters. Each channel rated at 500mA and can withstand peak currents of 600mA. Suppression diodes are included for inductive load driving and the inputs are pinned opposite the outputs to simplify board layout.

These versatile devices are useful for driving a wide range of loads including solenoids, relays DC motors; LED displays filament lamps, thermal print heads and high power buffers.

ULN 2003 is supplied in 16 pin plastic DIP packages with a copper lead frame to reduce thermal resistance. They are available also in small outline package.

5.5 Schematic Diagram:

Fig 18: Schematic diagram of IC ULN 2003

The above figure shows the schematic diagram of IC ULN 2003. Here it has an input terminal, two NPN transistors, four IN 4007 diodes. This diagram is replaced to small size and embedded in the form of IC.

The schematic diagram consists of four diodes, two transistors and a set of resistors. It has four terminals input, output, ground and common terminal. The three terminals are given to three terminals of the relay and the input terminal is connected to control logic circuit.

5.6 Maximum Ratings:

The table shows the maximum ratings of IC ULN2003 where it shows the output voltage, maximum input voltage, operating temperature, storage temperature etc..,

Table3: maximum ratings of IC ULN 2003

5.7 Test Circuits Of IC Uln2003:

Fig19: Test circuits of IC ULN2003

The circuit shown above is the test circuit of IC ULN2003. It has a pulse generator which generates required signal to be given to the relay. As the relay works on DC supply this pulse generator generates pure ripple free DC.

It also has a NOT gate which makes the relay to open its contacts when the power is off or when the fault occurs or else when the supply is on spark occurs. To avoid this we use a NOT gate and a diode connected parallel.

5.8 Relay:

Contact Specifications:

- Configuration            : 2CO, 2NO

- Contact rating            : 30A at 240V AC/ 24V DC.

- Contact resistance      : 100mΏ( max)

- Contact material         : Silver alloy.

Fig20: outline structure of electromagnetic relay

General Performance:

- Operating time                                           :  30msec Max

- Fast switching version                                :  10msec Max

- Release time                                               :   10maec Max

- Life expectancy

    - Electrical                                            :   5X 10^3 operations

    - Mechanical                                        :    10^3 operations

- Dielectric strength

  - Between open contacts                   :    1000V AC

  - Between coil and contact                :    2000V AC

  - Between any terminal and earth     :    2000V AC

- Insulation resistance                                   :    1000MΏ

- Temp range                                                 :    -40ºc

- Weight                                                         :   130g

- Mounting                                                     :   Chassis mounting.

CHAPTER 6

POWER SUPPLY

6.1 Introduction:

The digital phase selector consists of ICs, relays, which needs DC supply for operation of ICs and we also know the relays need pure DC supply for its operation .this DC supply can be obtained by the power supply circuit

The major components of the power supply circuit is the adjustable regulator(IC LM 317)

6.2 Features:

- Output current in excess of 1.5A.

- Output adjustable between 1.2V and 37V.

- Internal thermal over load protection.

- Internal short circuit current limiting.

- Output transistor safe operating area compensation.

- TO-220 package.

6.3 Description:

Fig21: Physical view of IC LM317

This monolithic integrated circuit is an adjustable 3-terminal positive voltage regulator designed to supply more than 1.5A of load current with an output voltage adjustable over a 1.2 to 37V. It employs internal current limiting, thermal shut down and safe area compensation.

6.4 Circuit Diagram:

Fig22: Circuit diagram

The above circuit diagram is the complete diagram of IC LM317 and the external resistors and capacitors indicate that is being used as adjustable regulator. The LM317 (T package) is adjustable regulator that requires two external components (resistor R20 and preset VR1) to determine the output voltage. Preset VR1 is used to set the voltage to 6V.

Diode D10 protects regulator LM317, incase its input shorts to ground if capacitors above 10 micro Farads are connected to the output of the regulator IC.

Capacitor C11 by passes any ripple in the regulated output. Capacitors C4 through C7 are connected in parallel to rectifier diode to by pass un desired spikes and provide smooth and fluctuation-free power.

6.5 Internal block diagram:

Fig23: Internal block diagram of IC LM317

The above diagram is the internal block diagram of IC LM317. It mainly consists of two blocks they are the voltage reference block and the protection circuitry block. There is an op amp and a pair of passive devises and the one transistor is used to drive the load and another transistor is used to control the output.

There are three terminals they are adjusting terminal, output terminal, and input terminal. The adjusting terminal is a variable resistor which can be varied manually and if we set a particular value automatic variation is possible by a voltage reference compared with the output. If the output deviates from the input the difference between voltages reaches to some finite value which makes to change the value of the resistance.

Since the IC LM317 used here is for adjustable regulator, the variation sin voltage may lead to continuous stress over the components and this can be avoided by the protection circuit. Internally the protection circuit consists of series connected resistors and a moving contact. Depending on the value of the current the metallic contact is moved and as the resistances are series connected the value of resistance is added.

6.6 Transformers:

A transformer is a device that transfers electrical energy from one circuit to another through inductively coupled electrical conductors. A changing current in the first circuit (the primary) creates a changing magnetic field. This changing magnetic field induces a changing voltage in the second circuit (the secondary). This effect is called mutual induction.

If a load is connected to the secondary circuit, electric charge will flow in the secondary winding of the transformer and transfer energy from the primary circuit to the load. In an ideal transformer, the induced voltage in the secondary winding (VS) is a fraction of the primary voltage (VP) and is given by the ratio of the number of secondary turns to the number of primary turns:

By appropriate selection of the numbers of turns, a transformer thus allows an alternating voltage to be stepped up — by making NS more than NP — or stepped down, by making it less.

Transformers are some of the most efficient electrical 'machines', with some large units able to transfer 99.75% of their input power to their output. Transformers come in a range of sizes from a thumbnail-sized coupling transformer hidden inside a stage microphone to huge units weighing hundreds of tons used to interconnect portions of national power grids. All operate with the same basic principles, although the range of designs is wide. While new technologies have made transformers in some electronics applications obsolete, transformers are still found in many electronic devices. Transformers are essential for high voltage power transmission, which makes long distance transmission economically practical.

6.6.1 Step Down Transformer:

So far we’ve observed simulations of transformers where the primary and secondary windings were of identical inductance, giving approximately equal voltage and current levels in both circuits. Equality of voltage and current between the primary and secondary sides of a transformer however is not the norm for all transformers. If the inductance of the two windings is not equal, something interesting happens. Notice how the secondary voltage is approximately ten times less than the primary voltage (0.9962 volts compared to 10volts)

Fig24: Step Down Transformer

6.6.2 Transformer Rating:

In our example above we were taking 2A out of the Vsec of 9-0-9V. The VA required is 9X2A = 18VA. This is a small PCB mount transformer available in Australia and probably elsewhere. This would be an absolute minimum and if you anticipated drawing the maximum current all the time then go to a higher VA rating.

CONCLUSION

The DIGITAL PHASE SELECTOR is an advanced technique which not only used for automation but also is one of the techniques for power quality improvement. This is a safe method of for change over of phase as it uses IC MCT2E OPTO COUPLER which is high frequency switch which works on infrared radiation and it does not contain any mechanical contacts.

This digital phase selector also takes power from inverter which made this devise highly reliable and its compact size made this device to be used for house hold purposes.

FUTURE SCOPE

This digital phase selector is used for house hold purpose and by development of high power opto couples we can extend the use of this device in substations and power stations.

BIBLIOGRAPHY

[1] Automation and Controlling Of Power Systems   by   s. Sunil Kumar.

[2] Power System Engineering by A. Chakrabarti, M.L.Soni, &P.V.Gupta,

[3] Modern Power System by I.J.Nagarath

WEB SITE:      WWW.EFYMAG.COM

APPENDIX-A

CAPACITORS

A capacitor or condenser is a passive electronic component consisting of a pair of conductors separated by a dielectric. Capacitors were discovered in 1745 and have become ubiquitous within electronic and electrical systems. The net charge on the conductors is proportional to the voltage across the dielectric, and the current is proportional to the time-derivative of the voltage. The proportionality constant is known as the capacitance of the device and is measured in units of farads, which correspond to one coulomb of charge storage per volt.

In DC circuits, a capacitor charges or discharges and energy is stored or released over time. In AC circuits, the periodic variation in charge yields a nonzero current with a 90° phase lead over the voltage. The capacitor therefore behaves as a short circuit for high frequency signals and as an open circuit at low frequencies. Multiple capacitors may be connected in parallel to obtain a higher capacitance or in series to obtain a lower capacitance.

Although an ideal capacitor is characterized by its capacitance alone, real devices exhibit more complex behavior. An equivalent series resistance (ESR) and inductance exist due to imperfect fabrication and Joule heating of the ESR places a limit on the ripple currents tolerated by the device. A small leakage current between the conductors leads to the discharge of the device over time. Above a breakdown voltage, the dielectric becomes conductive and the capacitor fails. The capacitance is affected by the ambient temperature, by incident sound waves and by the age of the device.

The behavior of a capacitor depends upon its geometry and the materials from which it is constructed. A variety of dielectric materials including paper, plastic, glass, mica, ceramics and liquid electrolytes are in common use. The conductors may take the form of metallic coatings upon the dielectrics or multiple metallic plates in a stack. The connecting leads may be arranged axially, or may be omitted entirely in surface mount components. Variable capacitors allow the capacitance to be varied by mechanically adjusting the locations of the conductors.

Applications of capacitors are diverse. Their frequency dependent behavior allows filtering applications including noise filtering, separation of AC and DC components of signals and the smoothing of power supplies. The charge and energy storage properties of a capacitor are employed in uninterruptible power supplies, pulsed power applications and amplifiers. DeEarly capacitors were also known as condensers, a term that is still occasionally used today. It was coined by Alessandro Volta in 1782 (derived from the Italian condensatore), with reference to the device's ability to store a higher density of electric charge than a normal isolated conductor. Most non-English European languages still use a word derived from "condensatore".

Charge separation in a parallel-plate capacitor causes an internal electric field. A dielectric (orange) reduces the field and increases the capacitance.

A capacitor consists of two conductors separated by a non-conductive region.[3] The non-conductive substance is called the dielectric medium, although this may also mean a vacuum or a semiconductor depletion region chemically identical to the conductors. A capacitor is assumed to be self-contained and isolated, with no net electric charge and no influence from an external electric field. The conductors thus contain equal and opposite charges on their facing surfaces,[4] and the dielectric contains an electric field. The capacitor is a reasonably general model for electric fields within electric circuits.

An ideal capacitor is wholly characterized by a constant capacitance C, defined as the ratio of charge ±Q on each conductor to the voltage V between them:[3]

Sometimes charge buildup affects the mechanics of the capacitor, causing the capacitance to vary. In this case, capacitance is defined in terms of incremental changes vices with variable capacitance are used in sensors and microphones.

# APPENDIX-B

# FUSE (ELECTRICAL)

In electronics and electrical engineering a fuse (short for fusible link) is a type of over current protection device. Its essential component is a metal wire or strip that melts when too much current flows, which breaks the circuit in which it is connected, thus protecting the circuit's other components from damage due to excessive current.

A practical fuse was one of the essential features of Thomas Edison's electrical power distribution system.

Fuses (and other over current devices) are an essential part of a power distribution system to prevent fire or damage. When too much current flows through a wire, it may overheat and be damaged or even start a fire. Wiring regulations give the maximum rating of a fuse for protection of a particular circuit. Local authorities will incorporate national wiring regulations as part of law. Fuses are selected to allow passage of normal currents, but to quickly interrupt a short circuit or overload condition.

# APPENDIX-C

# LIGHT-EMITTING DIODE

Blue, green, and red LEDs; these can be combined to produce most perceptible colors, including white. Infrared and ultraviolet (UVA) LEDs are also available.

A light-emitting-diode (LED),[1] is a semiconductor diode that emits light when an electric current is applied in the forward direction of the device, as in the simple LED circuit. The effect is a form of electroluminescence where incoherent and narrow-spectrum light is emitted from the p-n junction in a solid state material.

LEDs are widely used as indicator lights on electronic devices and increasingly in higher power applications such as flashlights and area lighting. An LED is usually a small area (less than 1 mm2) light source, often with optics added directly on top of the chip to shape its radiation pattern and assist in reflection. The color of the emitted light depends on the composition and condition of the semi conducting material used, and can be infrared, visible, or ultraviolet. Besides lighting, interesting applications include using UV-LEDs for sterilization of water and disinfection of devices, and as a grow light to enhance photosynthesis in plants.