MANUFACTURING PROCESS OF AN OIL FILLED

DISTRIBUTION TRANSFORMER ON 16KVA

ABSTRACT

The philosophy of FACTS (Flexible AC Transmission Systems) is to use power electronic controlled devices to control power flow in transmission network to utilize to its full capacity.

FACTS are one of the best ways to reduce the need for construction of new over head transmission lines is to increase power flow over existing lines.

# Due to high capital cost of erection of new transmission line we have improved this technology called FACTS. By using this technology we can improve the power transfer capability of the transmission line and these devices have high switching capacity even at high frequencies as these devices have no moving parts we can achieve high sensitivity and better control.                                                                                                   		There are many types of FACTS controller devices out of them TCSC (Thyristor Control Series Capacitor) has more advantages than other types

INTRODUCTION:

Without electricity, modern society would cease to function. As the volume of power transmitted and distributed increases, so do the requirements for a high quality and reliable supply. At the same time, rising costs and growing environmental concerns make the process of building new power transmission and distribution lines increasingly complicated and time-consuming. Making exciting lines as well as new ones more efficient and economical then become a compelling alternative.  The purpose of the transmission network is to pool power plants and load centers in order to minimize the total power generation capacity and fuel cost. The power systems of today, by and large, are mechanically controlled. There is a wide spread use of microelectronics, computers and high-speed communications for control and protection of present transmission systems; however, when operating signals are sent to the power circuits, where the final power control action is taken, the switching devices are mechanical and there is little high-speed control. Another problem with mechanical devices is that control cannot be initiated frequently, because these mechanical devices tend to wear out very quickly compared to static devices.  In India, for example there has been a fourfold increase in the value of wholesale transactions during the last decade. At the same time, however, addition of new transmission capacity to handle this growth has become increasingly difficult. Fortunately, a new generation of technologies promises to solve the growth-capacity dilemma by offering unconventional ways to increase transmission capacity with much less need for building new overhead lines. Today, one such technological area that has the potential to revolutionize utility transmission system is FLEXIBLE AC TRANSMISSION.FACTS devices are static equipment used for effective transmission. It means to enhance controllability and increase power transfer capability. It was introduced by Dr N.G.Hingorani in 1988 from the Electric Power Research Institute (EPRI) in the USA.

DEFINITION:

FACTS is defined by ‘IEEE’ as power electronic based system and other static equipment that provide control of one or more AC transmission system parameters to enhance controllability and power transfer capability.

to0000000000000000000000

Symbol for FACTS devices

## Facts Portfolio

BASICS OF FACTS:

The main idea of FACTS can be explained by the basic equation of power transmission is shown in the below figure.Power transmitted between two nodes of the system depends on voltages at both ends of the interconnection. Different FAC TS devices can actively influence one or more of these parameters for power flow control and improvement of voltage stability at node of interconnection.Depending on the system configuration, the tasks of FACTS can be summarized as follows:

- Meshed systems & bulk power transmission can cause power flow control.

- Radial systems &parallel lines can cause impedance control.

- Weak systems can cause voltage control.

## Power Flow Diagram

GENARATIONS OF CONTROLLERS:

FIRST GENERATION:This uses a simple logic of capacitance of manually based upon a roughly pre-manipulated data

SECOND GENERATION: The electronics makes its doubt here, forming a more smooth operation using relays and semi-conductor switches. This even did not eradicate the demerit of manual presence.

THIRD GENERATION:  This uses FACTS devices to control the flow of power in the transmission line, and also increase the stability in transient conditions.

FACTS CONTROLLERS:

The power that can be transmitted over a line depends on three factors

- Series reactance of the line

- Bus voltages

- Transmission angle 

- Voltage along the line can be controlled by reactance shunt compensation.

- Series line inductance can be controlled by series capacitive compensation.

- Transmission angle can be varied by phase shifting.

FACTS can be connected

    - In series with the power system.

    - In shunt with the power system.

    - Both in series and shunt with the power system.

SERIES COMPENSATION:

In series compensation FACTS are connected in series with power system. It works as a controllable voltage source

Symbol For Series Controller

METHODS OF SERIES COMPENSATION:

- Static synchronous series compensator (SSSC)

- Thyristor controlled series capacitor (TCSC)

- Thyristor switched series capacitor (TSSC)

Static synchronous series compensator (SSSC)

As mentioned, Static Synchronous Series Compensator (SSSC) is placed in the group of series connected FACTS devices. SSSC consists of a voltage source inverter connected in series through a coupling transformer to the transmission line.

A source of energy is required for providing and maintaining the DC voltage across the DC capacitor and compensation of SSSC losses. Fig. 2 shows the model of SSSC which consists of a series connected voltage source in series with an impedance. This impedance represents the impedance of coupling transformer.

THYRISTOR CONTROLLED SERIES CAPACITOR :( TCSC)

The basic thyristor controlled series capacitor scheme proposed in 1986 by Vithayathil with others as a method of rapid adjustment of network impedance is shown in fig.It consists of the series compensating capacitor shunted by a thyristor-controlled reactor. In a practical TCSC implementation several such basic compensators may be connected in series to obtain the desired voltage rating and operating characteristic

TCSC is a capacitive reactance compensator which consists of a series capacitive bank shunted by a thyristor controlled reactor inorder to provide smoothly variable capacitive reactance.

SINGLE LINE DIAGRAM OF TCSC

Basic Thyristor controlled series capacitor scheme:

The basic idea behind the TCSC scheme is to provide a continuously variable capacitor by means of partially canceling the effective compensating capacitance by the TCR. The TCR at the fundamental frequency is continuously variable reactive impedance controlled by delay angle

In a TPSC the thyristor valve is self cooled (by the surrounding air),but in TCSC the thyristor valve can be cooled by closed –loop water cooling system. In the TCSC scheme the TCR is connected in shunt with a capacitor ,instead of a fixed voltage source. The dynamic interaction between the capacitor and reactor changes the operating voltage from that of the basic sine wave established by the constant line current. A deeper insight into this interaction is essential to the understanding of the actual physical operation and dynamic behavior of the TCSC, particularly regarding its impedance characteristic at sub synchronous frequencies

Assume that the thyristor valve is initially open and the prevailing line current I produces voltage Vco across the fixed series compensating capacitor Suppose that the TCR is to be turned on at , measured from the negative peak of the capacitor voltage. As seen, at this instance of turn-on, the capacitor voltage is negative; the line current is positive and thus charging the capacitor in the positive direction. During this first half cycle and all similar subsequent half-cycles of the TCR operation, the thyristor valve can be viewed as an ideal switch, closing at ,in series with a diode of appropriate polarity to stop the conduction as the current crosses zero

The impedance of the TCR reactor does not significantly alter the physical operation of the TCSC, provided that is sufficiently small in relation to the impedance of the capacitor to facilitate the desired control of the series compensation. However, the design of the reactor for an actual compensator requires careful considerations to reconcile contradictory requirements. On the one hand, small XL is advantages in providing well-defined charge reversal and control of the period time of the compensating voltage. A small reactor is also advantages to facilitate an effective protective bypass for large surge current encountered during system faults. The mechanism of controlling the dc offset by charge reversal is illustrated for the increase and decrease of the capacitor voltage.

TCSC can increase the compensating voltage over that produced by the capacitor bank alone at a given line current. In other words, the TCSC can increase the effective impedance of the series compensating capacitor.

With a practical TCR the voltage reversals would take place over a finite conduction period (σ) and this period would vary with the applied phase advancement or retard, and the circuit would behave as if a conventional delay angle control was applied. The process of transition from one capacitor voltage to another therefore would be more complex than the theoretical case illustrated, it would be a function of the prevailing line current, and generally there would be transitional period before a steady state condition would be reached.

However the end result would be substantially the same. The effective capacitive impedance of the TCSC can be increased above the actual reactance of the capacitor bank by increase in the conduction angle of the TCR. This increase of the effective impedance is due to the additional voltage the TCR produces across the capacitor by repetitive charge reversals. From the qualitative circuit analysis provided, this process can be summarized in the following way. When the thyristor valve of the TCR is gated on prior to a negative to positive zero crossing of the capacitor voltage, the prevailing capacitor voltage will drive a current in the TCR that will self commutate when the integrated volt-sec over the conduction interval becomes to zero (since at the end of the conduction interval the current in the thyristor valve also decreases to zero) the current in the reactor is supplied from the parallel capacitor.

BENEFITS OF TCSC:

- Study state control of power flow.

- Transient stability improvement.

- Balancing power flow in parallel lines.

- To control line impedance.

- Reduce transmission losses

SHUNT COMPENSATION:

In shunt compensation power system is connected in shunt with the FACTS device .It works as a controllable current source.

Symbol for shunt Controller

METHODS OF SHUNT COMPENSATION:

Static Synchronous compensator (STATCOM)

Static VAR Compensator (SVC)

Thyristor Controlled Reactor (TCR)

Thyristor Switched Reactor (TSR)

Thyristor Switched Capacitor (TSC)

Mechanically Switched Capacitor (MSC)

Static Synchronous compensator (STATCOM)

The Static Synchronous Compensator (STATCOM) is a shunt device of the Flexible AC Transmission Systems (FACTS) family using power electronics to control power flow and improve transient stability on power grids [1]. The STATCOM regulates voltage at its terminal by controlling the amount of reactive power injected into or absorbed from the power system. When system voltage is low, the STATCOM generates reactive power (STATCOM capacitive). When system voltage is high, it absorbs reactive power (STATCOM inductive).

The variation of reactive power is performed by means of a Voltage-Sourced Converter (VSC) connected on the secondary side of a coupling transformer. The VSC uses forced-commutated power electronic devices (GTOs, IGBTs or IGCTs) to synthesize a voltage V2 from a DC voltage source. The principle of operation of the STATCOM is explained on the figure below showing the active and reactive power transfer between a source V1 and a source V2. In this figure, V1 represents the system voltage to be controlled and V2 is the voltage generated by the VSC.

Operating Principle of the STATCOM

P = (V1V2) sinδ / X , Q = V1(V1 – V2cosδ) / X

| Symbol | Meaning |
| --- | --- |
| V1 | Line to line voltage of source 1 |
| V2 | Line to line voltage of source 2 |
| X | Reactance of interconnection transformer and filters |
|  | Phase angle of V1 with respect to V2 |

In steady state operation, the voltage V2 generated by the VSC is in phase with V1 (δ=0), so that only reactive power is flowing (P=0). If V2 is lower than V1, Q is flowing from V1 to V2 (STATCOM is absorbing reactive power). On the reverse, if V2 is higher than V1, Q is flowing from V2 to V1 (STATCOM is generating reactive power). The amount of reactive power is given by

Q = (V1 (V1 – V2 )) / X.

A capacitor connected on the DC side of the VSC acts as a DC voltage source. In steady state the voltage V2 has to be phase shifted slightly behind V1 in order to compensate for transformer and VSC losses and to keep the capacitor charged. Two VSC technologies can be used for the VSC:

- VSC using GTO-based square-wave inverters and special interconnection transformers. Typically four three-level inverters are used to build a 48-step voltage waveform. Special interconnection transformers are used to neutralize harmonics contained in the square waves generated by individual inverters. In this type of VSC, the fundamental component of voltage V2 is proportional to the voltage Vdc. Therefore Vdc has to be varied for controlling the reactive power.

- VSC using IGBT-based PWM inverters. This type of inverter uses Pulse-Width Modulation (PWM) technique to synthesize a sinusoidal waveform from a DC voltage source with a typical chopping frequency of a few kilohertz. Harmonic voltages are cancelled by connecting filters at the AC side of the VSC. This type of VSC uses a fixed DC voltage Vdc. Voltage V2 is varied by changing the modulation index of the PWM modulator.

The STATCOM (Phasor Type) block models an IGBT-based STATCOM (fixed DC voltage). However, as details of the inverter and harmonics are not represented, it can be also used to model a GTO-based STATCOM in transient stability studies. A detailed model of a GTO-based STATCOM is provided in the FACTS demo library (power_statcom_gto48p demo).

The figure below shows a single-line diagram of the STATCOM and a simplified block diagram of its control system.

Single-line Diagram of a STATCOM and Its Control System Block Diagram

The control system consists of:

- A phase-locked loop (PLL) which synchronizes on the positive-sequence component of the three-phase primary voltage V1. The output of the PLL (angle Θ=ωt) is used to compute the direct-axis and quadrature-axis components of the AC three-phase voltage and currents (labeled as Vd, Vq or Id, Iq on the diagram).

- Measurement systems measuring the d and q components of AC positive-sequence voltage and currents to be controlled as well as the DC voltage Vdc.

- An outer regulation loop consisting of an AC voltage regulator and a DC voltage regulator. The output of the AC voltage regulator is the reference current Iqref for the current regulator (Iq = current in quadrature with voltage which controls reactive power flow). The output of the DC voltage regulator is the reference current Idref for the current regulator (Id = current in phase with voltage which controls active power flow).

- An inner current regulation loop consisting of a current regulator. The current regulator controls the magnitude and phase of the voltage generated by the PWM converter (V2d V2q) from the Idref and Iqref reference currents produced respectively by the DC voltage regulator and the AC voltage regulator (in voltage control mode). The current regulator is assisted by a feed forward type regulator which predicts the V2 voltage output (V2d V2q) from the V1 measurement (V1d V1q) and the transformer leakage reactance.

The STACOM block is a phasor model which does not include detailed representations of the power electronics. You must use it with the phasor simulation method, activated with the Powergui block. It can be used in three-phase power systems together with synchronous generators, motors, dynamic loads and other FACTS and DR systems to perform transient stability studies and observe impact of the STATCOM on electromechanical oscillations and transmission capacity at fundamental frequency.

### STATCOM V-I Characteristic

The STATCOM can be operated in two different modes:

- In voltage regulation mode (the voltage is regulated within limits as explained below)

- In var control mode (the STATCOM reactive power output is kept constant)

When the STATCOM is operated in voltage regulation mode, it implements the following V-I characteristic.

STATCOM V-I characteristic

As long as the reactive current stays within the minimum and minimum current values (-Imax, Imax) imposed by the converter rating, the voltage is regulated at the reference voltage Vref. However, a voltage droop is normally used (usually between 1% and 4% at maximum reactive power output), and the V-I characteristic has the slope indicated in the figure. In the voltage regulation mode, the V-I characteristic is described by the following equation:

V = Vref + Xs I

Where

| V | Positive sequence voltage (pu) |
| --- | --- |
| I | Reactive current (pu/Pnom) (I > 0 indicates an inductive current) |
| Xs | Slope or droop reactance (pu/Pnom) |
| Pnom | Three-phase nominal power of the converter specified in the block dialog box |

### STATCOM vs SVC

The STATCOM performs the same function as the SVC. However at voltages lower than the normal voltage regulation range, the STATCOM can generate more reactive power than the SVC. This is due to the fact that the maximum capacitive power generated by a SVC is proportional to the square of the system voltage (constant susceptance) while the maximum capacitive power generated by a STATCOM decreases linearly with voltage (constant current). This ability to provide more capacitive reactive power during a fault is one important advantage of the STATCOM over the SVC. In addition, the STATCOM will normally exhibit a faster response than the SVC because with the VSC, the STATCOM has no delay associated with the thyristor firing (in the order of 4 ms for a SVC).

Static VAR Compensator (SVC):

The SVC regulates voltage at its terminals by controlling the amount of reactive power injected into or absorbed from the power system.

When system voltage is low, the SVC generates reactive power (SVC capacitive). When system voltage is high, it absorbs reactive power (SVC inductive).

Thyristor-controlled reactor (TCR): reactor is connected in series with a bidirectional thyristor valve. The thyristor valve is phase-controlled. Equivalent reactance is varied continuously.

Thyristor-switched reactor (TSR): Same as TCR but thyristor is either in zero- or full- conduction. Equivalent reactance is varied in stepwise manner.

Thyristor-switched capacitor (TSC): capacitor is connected in series with a bidirectional thyristor valve. Thyristor is either in zero- or full- conduction. Equivalent reactance is varied in stepwise manner.

Mechanically-switched capacitor (MSC): capacitor is switched by circuit-breaker. It aims at compensating steady state reactive power. It is switched only a few times a day.

What are FACTS devices?

FACTS stand for Flexible AC Transmission Systems. The term “FACTS” covers several power electronics based systems used for AC power transmission. FACTS solutions are particularly suitable in applications, which require one or more of the following qualities:

• Rapid dynamic response

• Ability for frequent variations in output

• Smoothly adjustable output

• Fast implementation to achieve considerable increase in transmission capacity.

FACTS CONCEPTS SIMILAR TO HVDC

While some of the relevant technology i.e., Static VAR Compensation is already in wide use, the FACTS concept has brought to the table a tremendous potential for thyristor based

Controllers which will surely revolutionize the power system.

The technology offers the utilities the ability to:

1. Control power flows on their transmission routes;

2. Allow secure loading of transmission lines to their full thermal capacity. FACTS technology, while allowing use of transmission to its thermal capacity, does not do away with the need for additional transmission lines or the upgrading of existing lines where thermal limits have been reached or when evaluation of losses added to the cost of FACTS technology shows that new lines or upgrading of existing lines is the most optimum answer. Often, ac transmission systems are thought of as being "inflexible". Power flow in ac networks simply follows Ohm's law and ordinarily cannot be made to flow along specific desired paths. As a result, ac networks suffer from parallel-path, or "loop" flows. The power flows from source to load in inverse proportion to the relative impedances of the transmission paths. Low impedance paths take the largest fraction of flow, but all lines in the interconnection are a part of the flow path. Thus, utilities not involved in an interchange power transaction can be affected.

A fundamental notion behind FACTS is that it is possible to continuously vary the apparent impedance of specific transmission lines so as to force power to flow along a "contract path". This is a brand-new concept for many system planners. As illustrated in Figure 1.3, with precise control of the impedance of transmission lines using FACTS devices, it is possible to maintain constant power flow along a desired path in the presence of continuous changes of load levels in the external ac network, and to react in a planned way to contingencies. Just as in HVDC applications, FACTS controls could be designed to

Enhance the behavior of the uncontrolled systems. The flexible system owes its tighter transmission control to its ability to manage the interrelated parameters that constrain today's systems, including series impedance, shunt impedance, phase angle, and the occurrence of oscillations at various frequencies below the rated frequency. By adding to in this way, the controllers enable a transmission line to function nearer its thermal rating. For example, a 500-kV line may have a loading limit of 1000-2000MW for safe operation, but a thermal limit of 3000 MW. It is often not possible both to overcome these constraints and maintain the required system reliability by conventional mechanical means alone, such as tap changers, phase shifters, and switched capacitors and reactors (inductors).Granted, mechanical controllers are on the whole less expensive, but they increasingly need to be supplemented by rapidly responding power electronics controllers.

The new technology is not a single, high-power electronic controller, but rather a collection of controllers, which can be applied individually or collectively in a specific power system to control the five interrelated functions already mentioned. The thyristor is their basic element, just as the transistor is the basic element for a whole variety of microelectronic circuit. Because all controllers for the flexible transmission system are applications of similar technology, their use will eventually benefit from volume production and further development of high-power electronics. Electric power networks integrate generation and load centers within each utility system and through interconnections among neighboring systems, share power with vast regional grids. The purpose of this is to take advantage of the diversity of loads, changes in peak demand due to weather and time differences, the availability of different generation reserves in various geographic regions, power sharing arrangements among utilities, shifts in fuel prices, regulatory changes, and other discrepancies.

Applying Flexibility to the Electric Power System:

The power industry term FACTS (Flexible AC Transmission Systems) covers a number of technologies that enhance the security, capacity and flexibility of power transmission systems. FACTS solutions enable power grid owners to increase existing transmission network capacity while maintaining or improving the operating margins necessary for grid stability. As a result, more power can reach consumers with a minimum impact on the environment, after substantially shorter project implementation times, and at lower investment costs - all compared to the alternative of building new transmission lines or power generation facilities. The two main reasons for incorporating FACTS devices in Electric power systems are:

• Raising dynamic stability limits

• Provide better power flow control

Neuro-Control Approach for Flexible AC Transmission Systems:

A neuro-control approach for flexible AC transmission systems (FACTS) based on radial basis function neural network (RBFNN) is presented in this paper. The proposed scheme consists of a single neuron network whose input is derived from the active or reactive power or voltage derivation at the power system bus, where the FACTS device (in this case a unified power flow controller) is located. The performance and usefulness of this approach is tested and evaluated using both single machine infinite-bus and two machine power system subjected to various transient disturbances. It was found that the new intelligent controller for FACTS exhibits a superior dynamic performance in compensation to the existing classical control schemes. Its simple architecture reduces the computational overhead, thereby real-time implementation. Benefits of FACTS: When implemented on a broad-scale basis,

FACTS technologies deliver the following benefits.

• A Rapidly Implemented Installations: FACTS projects are installed at existing substations and avoid the taking of public or private lands. They can be completed in less than 12 to 18 months a substantially shorter timeframe than the process required for constructing new transmission lines.

• Increased System Capacity: FACTS provide increased capacity on the existing electrical transmission system infrastructure by allowing maximum operational efficiency of existing transmission lines and other equipment.

• Enhanced System Reliability: FACTS strengthen the operational integrity of transmission networks, allowing greater voltage stability and power flow control, which leads to enhanced system reliability and security.

• Improved System Controllability: FACTS allow improved system controllability by building “intelligence” into the transmission network via the ability to instantaneously respond to system disturbances and gridlock constraints and to enable redirection of power flows.

• Seamless System Interconnections: FACTS, in the form of BTB dc-link configurations, can establish “seamless” interconnections within and between regional and local

networks, allowing controlled power transfer and an increase in grid stability

CONCLUSION:

It is envisaged that in future FACTS devices could be installed on wide scale by electrical utilities in an attempt to control the power flows through their networks. Concern has been expressed that such wide scale application of FACTS devices could cause conflict between the control systems of the different devices Using the advanced solid state technology, FACTS controllers offer flexibility of system operation fast and reliable control. They better utilization of existing power generation and transmission facilities with out comprising system availability and security .The planner has to select controller out of the set of FACTS controllers, for improving the system operation based on cost benefit analysis.

REFERNCE:

1. N.G.Hingorani, L.Gyugyi,” FACTS-Concepts and Technology.

2. S.Nilsson, “Special Application Considerations for Custom Power systems”.

3. Lecture Notes on FACTS by Dr.R.Sreeram Kumar FIE (I)

4.www.IEEE.com

5.www.siemens.org